TVLA-MICROBIOLOGY LAB 

| ISOLATE REPORT: CVL\_INIKA3-1 |
| --- |

RESULTS: To Review

Organism type: bacteria

| Selected | Position | Acquisition Date | Results | Confidence | Information |
| --- | --- | --- | --- | --- | --- |
|  | A1 | 11/19/24 1:52 PM | None |  | No identification |
|  | A2 | 11/19/24 1:55 PM | Escherichia coli | 99.9% | None |
|  | A3 | 11/19/24 1:58 PM | None |  | Bad spectrum |
|  | A4 | 11/19/24 2:01 PM | Escherichia coli | 99.9% | None |
|  | B1 | 11/19/24 2:05 PM | Enterobacter cloacae | 50.0% | None |
|  | B1 | 11/19/24 2:05 PM | Enterobacter asburiae | 50.0% | None |
|  | B2 | 11/19/24 2:08 PM | None |  | Bad spectrum |
|  | B3 | 11/19/24 2:11 PM | Escherichia coli | 99.9% | None |
|  | B4 | 11/19/24 2:14 PM | None |  | Bad spectrum |
|  | C1 | 11/19/24 2:17 PM | Salmonella enterica ssp enterica | 99.9% | Pathogenicity : Critical |
|  | C2 | 11/19/24 2:18 PM | Escherichia coli | 99.9% | None |
|  | C3 | 11/19/24 2:22 PM | Enterobacter cloacae | 50.0% | None |
|  | C3 | 11/19/24 2:22 PM | Enterobacter asburiae | 50.0% | None |
|  | C4 | 11/19/24 2:25 PM | Salmonella enterica ssp enterica | 99.9% | Pathogenicity : Critical |
|  | D1 | 11/19/24 2:28 PM | Escherichia coli | 99.9% | None |
|  | D2 | 11/19/24 2:31 PM | Escherichia coli | 99.9% | None |
|  | D3 | 11/19/24 2:32 PM | Alcaligenes faecalis ssp faecalis | 99.9% | None |
|  | D4 | 11/19/24 2:35 PM | Salmonella enterica ssp enterica | 99.9% | Pathogenicity : Critical |

Pathogen

ACTIONS

| 11/19/24  1:14 PM LabAdmin Setup VITEK® MS FLEXPREP |
| --- |
| 11/19/24  2:35 PM VITEKMSACQ01 Acquire - |

11/20/24 8:39 AM ISOLATE REPORT : CVL\_INIKA3-1 page 1 / 2

TVLA-MICROBIOLOGY LAB 

TRACEABILITY

Slide ID: DS233731608

Matrix : 1010348770 expires on 11/7/24 

SYSTEM VERSION

VITEK® MS Software Version: : 1.1.0-203571250

KB Reference: Not Applicable

Embedded KB Version: Not Applicable

Lab Admin

11/20/24 8:39 AM ISOLATE REPORT : CVL\_INIKA3-1 page 2 / 2